| (11)Publication number | 05-053663 |
| --- | --- |
| (43)Date of publication of application | 05.03.1993 |
| (51)Int.Cl. | G05F 1/56 G01R 27/02 |
| (21)Application number | 03-209495 |
| (22)Date of filing | 21.08.1991 |
| (71)Applicant | ADVANTEST CORP |
| (72)Inventor | YADA HIDEKAZU |

#### (54)CONSTANT CURRENT CIRCUIT FOR MEASUREMENT OF RESISTANCE

#### (57)Abstract

PURPOSE: To provide a constant current circuit for measurement of resistance which can obtain the resistance value of a measured object after applying a fixed current to the measured object and measuring the voltage generated et the measured object, can reduce the level of release voltage generated at a measurement terminal, and can test such an element as a semiconductor integrated circuit, etc., with no breakage. 
CONSTITUTION: A constant current circuit for measurement of resistance consists of a constant voltage generating circuit 10 and a voltage/current converter circuit which converts the constant voltage outputted from the circuit 10 and applies a fixed current to a measured object 30. Then a voltage switch means 14 is added to a feedback circuit of the circuit 10, and the reference voltage applied to the voltage/current converter circuit is changed. Then the level of release voltage can be reduced.

### CLAIMS

[Claim(s)] 
[Claim 1]A. Fixed voltage is given to a non-inversed input terminal, and an inversed input terminal is grounded with an input-resistance machine, and. A constant voltage circuit which a feedback resister machine was connected between an output terminal and this inversed input terminal, and was constituted, B. Output voltage of this constant voltage circuit is given to an inversed input terminal of an operational amplifier through a current sensing resistor machine, Reference voltage is given to a non-inversed input terminal of this operational amplifier, and output voltage of the above-mentioned operational amplifier is given to a control electrode of an active device, A voltage-current conversion circuit which current which flows through an active device is given to the above-mentioned current sensing resistor machine, and voltage which occurs in a current sensing resistor machine is given to the above-mentioned operational amplifier as feedback voltage, and is constituted, C. A current regulator circuit for measure resistance constituted as resemble a switching means which changes a pressure value which is provided by the above-mentioned constant voltage circuit and given to the above-mentioned voltage-current conversion circuit.

### DETAILED DESCRIPTION

[Detailed Description of the Invention] 
[0001] 
[Industrial Application]This invention relates to the current regulator circuit for measure resistance used when measuring direct current resistance, such as a semiconductor integrated circuit or a diode, a light emitting diode, and a resistor, for example. 
[0002] 
[Description of the Prior Art]The conventional current regulator circuit for measure resistance is shown in Fig.2. Ten in the figure shows a constant voltage circuit, and 20 shows a voltage-current conversion circuit. The voltage source 11 to which the constant voltage circuit 10 gives fixed voltage-Vr to the non-inversed input terminal of operational amplifier U1 and this operational amplifier U1, It is constituted by the input-resistance machine 12 connected to during the inversed input terminal of operational amplifier U1, and the common potential point ARS, and the feedback resister machine 13 connected to between this inversed input terminal and output terminal, and fixed voltage V1 is output to the output terminal 15. 
[0003]The voltage-current conversion circuit 20 is constituted by operational amplifier U2, and the active device Q and the current sensing resistor machine 21 connected to an output side of this operational amplifier U2. Connect the non-inversed input terminal of operational amplifier U2 to the voltage source 11 which outputs reference voltage-Vr, and fixed voltage-Vr is given, and the current sensing resistor machine 21 connects one end to the output terminal 15 of the constant voltage circuit 10, and it connects the other end to the sense terminal A through the active device Q. It connects at the common potential point ARS, and the sense terminal B connects the body 30 to be measured among the sense terminals A and B. The inversed input terminal of operational amplifier U2 is connected at the node K of the active device Q and the current sensing resistor machine 21, and operational amplifier U2 and the active device Q operate so that the current which flows into the current sensing resistor machine 21 may always maintain constant value. 
[0004]That is, the voltage between the node K and the common potential point ARS serves as the same voltage-Vr as a non-inversed input terminal. If the gain of operational amplifier U2considers it as sufficient large thing, however resistance RX of the body 30 to be measured may change, the voltage of the node K will be maintained by -Vr. The current which flows through the current sensing resistor machine 21 is substantially equal to current IS1 which flows through the body 30 to be measured, when the body 30 to be measured is connected among the sense terminals A and B. Voltage V21 which occurs in the current sensing resistor machine 21 becomes V21=V1- (-Vr). Therefore, voltage V21 which occurs in the current sensing resistor machine 21 maintains constant value regardless of resistance RX of the body 30 to be measured, and current IS1 which flows through the body 30 to be measured also always serves as constant value regardless of resistance RX. 
[0005]This is described with expression. When the resistance of R2 and the current sensing resistor machine 21 is made [ the resistance of the input-resistance machine 12 ] into R3 for the resistance of R1 and the feedback resister machine 13, output voltage V1 of the constant voltage circuit 10 is V1=-Vr. - (1+R2/R1) --- (1) 
IS1={V1-(-Vr)} 1/R3 ... (2) 
(2) Formula IS1=-Vr and R2/R1 and R3 (3) 
Electric current value IS1 which flows through a next door and the body 30 to be measured maintains constant value regardless of resistance RX of the body 30 to be measured. 
[0006]Therefore, by measuring voltage EX which occurs among the sense terminals A and B, resistance RX of the body 30 to be measured is calculated by RX=EX/IS1. Thus, since current IS1was decided preliminarily, calculation of resistance RX of the body 30 to be measured can be performed, without measuring electric current value IS1. 
[0007] 
[Problem to be solved by the invention]In the conventional current regulator circuit for measure resistance, the voltage of the sense terminal A reaches near the output voltage V1 of the constant voltage circuit 10 at the maximum in the state where the body 30 to be measured is not connected among the sense terminals A and B. That is, it is Vopen=V1 when voltage of the sense terminal A in the state where the body 30 to be measured is not connected is made into Vopen. -(R3 and IG+VDS)... (4) 
the current and VDS through which IG flows into the control electrode of the active device Q -- the drain of the active device Q, and the voltage; between sources -- current IG which flows into the control electrode of a field effect transistor generally is very small. Therefore, (R3 and IG+VDS) serve as sufficient small value, and serves as Vopennearly equal toV1. Output voltage V1 of the current regulator circuit 10 at the time of opening serves as about [ 10-20V ] voltage. In the state where the voltage of 20V has occurred among the sense terminals A and B as a result, when withstand voltage connects a semiconductor integrated circuit or a diode not more than 20V, etc. among the sense terminals A and B, there is a possibility that voltage destruction of the semiconductor integrated circuit may be carried out. 
[0008]The object of this invention tends to provide the constant current source circuit for measure resistance which can change the voltage at the time of opening to a low state, without changing the electric current value which flows through the body 30 to be measured. 
[0009] 
[Means for solving problem]In this invention, the means which changes the reference voltage given to the voltage-current conversion circuit 20 from the constant voltage circuit 10 is provided. It can be set up to make low voltage which occurs by the change of this reference voltage at the node K of an active device and a current sensing resistor machine, and voltage which occurs at the time of opening of a sense terminal can be made low by making low voltage which occurs at the node K. 
[0010]Therefore, if it makes low reference voltage given to a voltage-current conversion circuit in measuring the resistance of a semiconductor device with low withstand voltage, the voltage which occurs in a sense terminal can be stopped low. As a result, the body to be measured is connectable in the state where the sense terminal is opened wide. 
[0011] 
[Working example]One Example of this invention is shown in Fig.1. A community code is attached and shown in Fig.3 and identical parts among the figure. In this invention, the switching means 14 which changes reference voltage VR given to the voltage-current conversion circuit 20 from the constant voltage circuit 10 is provided. This switching means 14 can constitute a feedback resister machine with the switch 14A of 13A, 13B, and the feedback resister machines 13A and 13B of one of these which were divided into two which short-circuits 13B on the other hand, Reference voltage VR is taken out from the node of the feedback resister machines 13A and 13B, and this reference voltage VR is supplied to the voltage-current conversion circuit 20. 
[0012]When output voltage of the constant voltage circuit 10 at the time of changing the switching means 14 is made into V2OFF and V2ON, it is V2OFF=-Vr {1+(R4+R2')/R1}... (5) 
V2ON=-Vr(1+R2'/R1) ... (6) 
It becomes. However, it is considered as R2nearly equal toR2'+R4 to resistance R2 of the feedback resister machine 13 with which R2' showed the resistance of the feedback resister machine 13A to Fig.2, and R4 showed the resistance of the feedback resister machine 13B, and the resistance of R2' and R4 to it. 
[0013]Reference voltage VR output from the switching means 14 on the other hand, is VROFF=-Vr (1+R4/R1)... (7) 
VRON=-Vr--- (8) 
It becomes. current IS2OFF into which the switch 14A flows through the body 30 to be measured at the time of OFF -- IS2OFF=(V2OFF-VROFF)/R3 ... (9) 
= [-Vr{1+(R4+R2')/R1}-{-Vr (1+(R4/R1)}]/R3=-Vr and R2'/R1 and R3---) (10) The switch 14A the body 30 of ON state to be measured. Flowing current IS2ON is . IS2ON=(V2ON-VRON)/R3=[-Vr(1+R2'/R1)-(-Vr)]/R3=-Vr and R2'/R1 and R3 ... (11) (10) , Current IS2OFF and IS2ON into which the switch 14A flows through the body 30 to be measured also in the state of OFF also in the state of ON turn into IS2OFF=IS2ON so that clearly from (11) types. 
[0014]Release voltage VOPEN1 which the switch 14A generates in the sense terminal A in the state of OFF is VOPEN1=V2OFF. - (R3 and IG+VDS) 
Release voltage VOPEN2 which the switch 14A generates in the sense terminal A in the state of ON is VOPEN2=V2ON. - (R3 and IG+VDS) 
V2OFF and V2ON are V2OFF>V2ON so that clearly from (5) and (6) types. 
[0015]Therefore, release voltage which occurs in the sense terminal A can be made small by changing the switch 14A to the state of ON. the case where the ratio of V2OFF and V2ON is made into R4=R2' -- about -- it is set to one half. 
[0016] 
[Effect of the Invention]As described above, in the present invention, the switch 14A is changed to a state of ON.
Therefore, release voltage which occurs in the sense terminal A can be made low, without giving change to current IS2OFF and IS2ON which flow through the body to be measured.
Therefore, a semiconductor integrated circuit can be promptly connected from a release position, and experimental efficiency can be improved. The advantage which can examine efficiently therefore the semiconductor device of a semiconductor integrated circuit or others in a short time is acquired.

### DESCRIPTION OF DRAWINGS

[Brief Description of the Drawings] 
A [FIG. 1] The connection diagram showing one Example of this invention. 
A [FIG. 2] The connection diagram for describing a Prior art. 
[Explanations of letters or numerals] 
10 Constant voltage circuit 
14 Switching means 
14A Switch 
20 Voltage-current conversion circuit 
30 The body to be measured 
A and B Sense terminal

### DRAWINGS

A [FIG. 1]

A [FIG. 2]

### CORRECTION OR AMENDMENT

[Kind of official gazette]Printing of correction by regulation of Patent Law Article 17bis 
[Section Type] The 3rd Type of the part VI gate 
[Publication date]Heisei 9(1997) (1997) February 14 

[Publication No.]JP,5-53663,A 
[Date of Publication]Heisei 5(1993) (1993) March 5 
[Annual volume number] Published unexamined patent application 5-537 
[Application number]Japanese Patent Application No. 3-209495 
[International Patent Classification (6th Edition)] 
G05F 1/56 310 
G01R 27/02 
[FI] 
G05F 1/56 310 T 4237-5H 
G01R 27/02 R 9213-2G 

[Written Amendment] 
[Filing date]Heisei 8(1996) March 26 
[Amendment 1] 
[Document to be Amended]Description 
[Item(s) to be Amended]0011 
[Method of Amendment]Change 
[Proposed Amendment] 
[0011] 
[Working example]One Example of this invention is shown in Fig.1. A community code is attached and shown in Fig.2 and identical parts among the figure. In this invention, the switching means 14 which changes reference voltage VR given to the voltage-current conversion circuit 20 from the constant voltage circuit 10 is provided. This switching means 14 can constitute a feedback resister machine with the switch 14A of 13A, 13B, and the feedback resister machines 13A and 13B of one of these which were divided into two which short-circuits 13B on the other hand, Reference voltage VR is taken out from the node of the feedback resister machines 13A and 13B, and this reference voltage VR is supplied to the voltage-current conversion circuit 20.

### CORRECTION OR AMENDMENT

[Kind of official gazette]Printing of correction by regulation of Patent Law Article 17bis 
[Section Type] The 3rd Type of the part VI gate 
[Publication date]Heisei 10(1998) (1998) November 13 

[Publication No.]JP,5-53663,A 
[Date of Publication]Heisei 5(1993) (1993) March 5 
[Annual volume number] Published unexamined patent application 5-537 
[Application number]Japanese Patent Application No. 3-209495 
[International Patent Classification (6th Edition)] 
G05F 1/56 310 
G01R 27/02 
[FI] 
G05F 1/56 310 T 
G01R 27/02 R 

[Written Amendment] 
[Filing date]Heisei 8(1996) March 26 
[Amendment 1] 
[Document to be Amended]Description 
[Item(s) to be Amended]0011 
[Method of Amendment]Change 
[Proposed Amendment] 
[0011] 
[Working example]One Example of this invention is shown in Fig.1. A community code is attached and shown in Fig.2 and identical parts among the figure. In this invention, the switching means 14 which changes reference voltage VR given to the voltage-current conversion circuit 20 from the constant voltage circuit 10 is provided. This switching means 14 can constitute a feedback resister machine with the switch 14A of 13A, 13B, and the feedback resister machines 13A and 13B of one of these which were divided into two which short-circuits 13B on the other hand, Reference voltage VR is taken out from the node of the feedback resister machines 13A and 13B, and this reference voltage VR is supplied to the voltage-current conversion circuit 20.