March, 2003

# KT-9 DATA COLLECTION PROGRAMS TECHNICAL NOTE

# Pt# 01-TN-2000-001     Rev 1.0

KT-9 Data collection programs have been modified to store data in a format                    which is more suitable for importation to Excel type programs. To use the KT-9              programs do the following:

- Make a new directory on your hard drive.

- Copy all the files from the KT-9 support disk to this directory.

- Programs can be launched from Windows Explorer however if communication problems are encountered then the computer should be restarted in DOS mode and programs started with DOS commands.

- When naming files they should be saved with a “.txt” extension. If a destination is not specified then the files will be saved to the working directory. ( The directory that you have started the file from.)

Scan 7cc.exe  (disregard the KT-9 manual description)

This program is for remote control and data storage of single readings.  Follow the instructions on the screen.

Scan 7a.exe (disregard the KT-9 manual description)

This program is for remote control and data storage of continuous or Scan Mode readings. Follow the instructions on the screen.

In addition to naming a xxxxx.txt file for the data, the program allows for start and stop control. The program prompts the user to enter a header at the start of each data set. In this way, each of the data sets will be identified  within the file.

Stick.exe

This program is used in conjunction with the optional Remote Sensor on as Stick. The function is similar to Scan 7. Refer to the KT-9 manual page 64.

Note: March, 2003 revision replaces Scan7.exewith Scan7a.exe.