ADC Input

+/- Ref switching

Integrator

0/+Ref forcing waveform

Slow/DC part

High-speed part

Comparators

ICL7650CPD

To ADC Input

Ratio amplifier

Input amplifier

“Ohms” self test current

Drift correction (ADC Zero) switch

Solartron 7081 AutoZero bug

Measurement result

10 V

Every ~ 15 min

6½

7½

8½

Normal

measurement

Normal

measurement

Drift correction

(ADC Zero) Cycle

Settling

True ADC Offset

Wrong ADC Offset

6½

7½

8½

Error,

up to 50-70 V