## Monte Carlo Data
Bartlett and Brown-Forsythe Tests
Create two equal size normally distributed data sets, then check to see if there is enough information to claim the groups have different variances
| Group 1: |  |  | Group 2:
| n1 = | 50 |  | n2 = | 50 |  | Bartlett T = | 12.756
| Input standard deviation = | 1 |  | Input standard deviation = | 1.5 |  | critical value = | 3.8415 | (a = 0.05)
| Calculated variance = | 1.0016 | 0.3815 | Calculated variance = | 2.8571 | 1.3496 | critical value = | 6.6349 | (a = 0.01)
| median = | -0.10737 |  | median = | -0.27031
| mean = | 0.042766 | 0.79386 | mean = | -0.21661 | 1.2167
| i | yi | di1 | i | yi | di2
| 1 | 2.9675 | 3.0748 | 1 | -0.29533 | 0.025025
| 2 | -1.5688 | 1.4614 | 2 | -0.041487 | 0.22882
| 3 | -1.6149 | 1.5076 | 3 | -1.6923 | 1.422
| 4 | 0.39089 | 0.49826 | 4 | -0.77615 | 0.50584
| 5 | 2.2091 | 2.3165 | 5 | -0.96938 | 0.69907
| 6 | -1.0347 | 0.92734 | 6 | -1.5172 | 1.2469
| 7 | -1.3076 | 1.2002 | 7 | -3.0994 | 2.8291
| 8 | -0.095927 | 0.011443 | 8 | 0.056448 | 0.32676 | Brown-Forsythe Test
| 9 | 0.12962 | 0.23699 | 9 | 1.4342 | 1.7045 | pooled variance = | 0.86552
| 10 | 0.6218 | 0.72917 | 10 | -0.21844 | 0.051865 | B-F t = | 2.2724
| 11 | 0.49897 | 0.60634 | 11 | 0.12404 | 0.39434 | critical t = | 1.9845 | (a = 0.05)
| 12 | -0.544 | 0.43663 | 12 | 1.438 | 1.7083 | critical t = | 2.6269 | (a = 0.01)
| 13 | -0.1682 | 0.060833 | 13 | 1.2786 | 1.5489
| 14 | -1.2714 | 1.1641 | 14 | 1.8448 | 2.1151
| 15 | 1.3658 | 1.4732 | 15 | -0.068645 | 0.20166
| 16 | 0.74211 | 0.84948 | 16 | -2.0817 | 1.8114
| 17 | -1.1746 | 1.0672 | 17 | 4.0571 | 4.3274
| 18 | 0.5752 | 0.68257 | 18 | 0.20051 | 0.47082
| 19 | 1.2756 | 1.383 | 19 | -0.74817 | 0.47786
| 20 | -0.51537 | 0.408 | 20 | -0.70398 | 0.43367
| 21 | -0.58148 | 0.47411 | 21 | -0.64315 | 0.37284
| 22 | -0.046847 | 0.060523 | 22 | -4.0282 | 3.7579
| 23 | -1.1633 | 1.0559 | 23 | -2.3563 | 2.086
| 24 | -0.049443 | 0.057928 | 24 | -1.4042 | 1.1339
| 25 | -0.66377 | 0.5564 | 25 | 0.21345 | 0.48375
| 26 | -0.686 | 0.57863 | 26 | 4.3365 | 4.6069
| 27 | -0.79778 | 0.69041 | 27 | 3.3692 | 3.6396
| 28 | 1.3619 | 1.4693 | 28 | 1.1647 | 1.435
| 29 | -0.11881 | 0.011443 | 29 | -0.24985 | 0.020456
| 30 | -0.34439 | 0.23702 | 30 | -1.1115 | 0.84118
| 31 | 1.358 | 1.4653 | 31 | 0.11463 | 0.38493
| 32 | 0.83462 | 0.94199 | 32 | -0.29076 | 0.020456
| 33 | -0.18653 | 0.079156 | 33 | 0.011381 | 0.28169
| 34 | -0.19499 | 0.087618 | 34 | -2.236 | 1.9657
| 35 | 0.99413 | 1.1015 | 35 | -1.4145 | 1.1442
| 36 | 0.26772 | 0.37509 | 36 | 0.22975 | 0.50006
| 37 | -0.43625 | 0.32888 | 37 | -2.6595 | 2.3892
| 38 | 0.90562 | 1.013 | 38 | -0.17838 | 0.091931
| 39 | -0.33573 | 0.22836 | 39 | -1.4942 | 1.2239
| 40 | 1.5192 | 1.6265 | 40 | 2.6862 | 2.9565
| 41 | 0.65692 | 0.76429 | 41 | 0.46216 | 0.73247
| 42 | -0.3696 | 0.26223 | 42 | -0.61887 | 0.34856
| 43 | -0.74331 | 0.63594 | 43 | -1.0196 | 0.74926
| 44 | -0.98358 | 0.87621 | 44 | -0.98249 | 0.71218
| 45 | -0.36261 | 0.25524 | 45 | 1.6626 | 1.9329
| 46 | 0.96705 | 1.0744 | 46 | -0.37213 | 0.10182
| 47 | 0.52775 | 0.63512 | 47 | 0.090011 | 0.36032
| 48 | -1.6096 | 1.5023 | 48 | 0.98462 | 1.2549
| 49 | 0.29847 | 0.40584 | 49 | -2.686 | 2.4157
| 50 | 0.64 | 0.74737 | 50 | -0.63122 | 0.36091
〖𝐵𝑎𝑟𝑡𝑙𝑒𝑡𝑡 𝑠〗_𝑝𝑜𝑜𝑙^2=(𝑠_1^2+𝑠_2^2)/2
𝐵𝑎𝑟𝑡𝑙𝑒𝑡𝑡 𝑇=(𝑁−2)^2/(𝑁−1) "ln " (𝑠_𝑝𝑜𝑜𝑙^2)/(𝑠_1 𝑠_2 )
〖𝐵−𝐹 𝑠〗_𝑝𝑜𝑜𝑙^2=(〖(𝑛_1−1)𝑠〗_𝑑1^2+(𝑛_2−1)𝑠_𝑑2^2)/(𝑛_1+𝑛_2−2)
𝐵−𝐹 𝑡=|𝑑 ̅_1−𝑑 ̅_2 |/(𝑠_𝑝𝑜𝑜𝑙 √(1/𝑛_1 +1/𝑛_2 ))

## Flow Meters
Pressure and Weight in Cryogenic Flow Meters
Reference: Technometrics, Vol. 19(4), p353-379 (1977). | [14 empty] | Syntax: LINEST(known_y's, [known_x's], [const], [stats])
X = Temperature of the liquid nitorgen at the flow meter (K) | [7 empty] | mean1 = | 0.5285 | [5 empty] | If const is FALSE, intercept is set equal to 0 and the slopes are adjusted to fit y = mx
Y = Percent Weight Difference |  |  |  |  | N1 = | 19 |  | mean2 = | 0.85256 | [5 empty] | If stats is TRUE, LINEST returns the additional regression statistics
n = | 39 |  |  | 0.10256 | median1 = | -0.013194 | -0.11014 | var1 = | 0.13767 | [5 empty] | Output: {mn,mn-1,...,m1,b;sen,sen-1,...,se1,seb;r2,sey;F,df;ssreg,ssresid}.
mean = | 84.4838 | -0.00083047 | 1.3949e-15 |  | median2 = | -0.2401 | -0.24 | var2 = | 1.262 | [5 empty] | Select two columns and five rows starting with the formula cell.
Std Dev = | 3.3797 | 0.50442 | 0.20732 |  | N2 = | 20 | [8 empty] | Press F2, and then press CTRL+SHIFT+ENTER
| X | Y | Residual | leverage | lev*n/p | isr | esr | Y-hat | di
| 80.02 | -0.71879 | -0.10898 | 0.071549 | 1.3952 | -0.54552 | -0.54028 | -0.60981 | 0.43014
| 80.13 | -0.69935 | -0.10455 | 0.069315 | 1.3516 | -0.5227 | -0.5175 | -0.59481 | 0.40737 | [5 empty] | LINEST Results |  | Legend
| 80.25 | -0.8947 | -0.31626 | 0.06694 | 1.3053 | -1.5792 | -1.6131 | -0.57844 | 1.5029 | [5 empty] | 0.13643 | -11.5266 | b1 | b0
| 80.64 | -0.31616 | 0.20908 | 0.059682 | 1.1638 | 1.04 | 1.0411 | -0.52523 | 1.1513 | [5 empty] | 0.0099515 | 0.84139 | se-b1 | se-b0
| 80.67 | -0.46502 | 0.056114 | 0.059153 | 1.1535 | 0.27904 | 0.27553 | -0.52114 | 0.38566 | [5 empty] | 0.83551 | 0.20732 | R2 | sey
| 80.69 | -0.69569 | -0.17728 | 0.058802 | 1.1466 | -0.8814 | -0.87868 | -0.51841 | 0.76854 | [5 empty] | 187.9407 | 37 | F-overall | df
| 80.69 | -0.3939 | 0.12451 | 0.058802 | 1.1466 | 0.61902 | 0.61378 | -0.51841 | 0.72392 | [5 empty] | 8.0783 | 1.5904 | ssreg | ssresid
| 80.71 | -0.36718 | 0.1485 | 0.058454 | 1.1398 | 0.73816 | 0.73354 | -0.51568 | 0.84368
| 80.74 | -0.63465 | -0.12306 | 0.057934 | 1.1297 | -0.61153 | -0.60628 | -0.51159 | 0.49615
| 82.35 | -0.33468 | -0.042742 | 0.036132 | 0.70457 | -0.20999 | -0.20726 | -0.29194 | 0.097121
| 82.38 | -0.28272 | 0.0051291 | 0.035839 | 0.69885 | 0.025195 | 0.024853 | -0.28785 | 0.13499
| 82.45 | -0.16673 | 0.11157 | 0.035171 | 0.68584 | 0.54785 | 0.5426 | -0.2783 | 0.65274 |  | group 1 StDev = | 0.64063
| 82.65 | -0.2537 | -0.0026895 | 0.033389 | 0.65109 | -0.013194 | -0.013015 | -0.25101 | 0.097121 |  | group 2 StDev = | 1.3674
| 82.65 | -0.42115 | -0.17013 | 0.033389 | 0.65109 | -0.83467 | -0.83118 | -0.25101 | 0.72104
| 82.65 | -0.24966 | 0.001355 | 0.033389 | 0.65109 | 0.0066478 | 0.0065574 | -0.25101 | 0.11669
| 82.75 | -0.17022 | 0.067156 | 0.032567 | 0.63506 | 0.32933 | 0.32532 | -0.23737 | 0.43546 |  | Bartlett T = | 9.7564
| 82.77 | -0.35711 | -0.12246 | 0.032408 | 0.63196 | -0.60049 | -0.59523 | -0.23464 | 0.4851 |  | critical value = | 3.8415 | (a = 0.05)
| 82.77 | -0.29239 | -0.057742 | 0.032408 | 0.63196 | -0.28314 | -0.27959 | -0.23464 | 0.16945 |  | critical value = | 6.6349 | (a = 0.01)
| 82.84 | -0.16064 | 0.064449 | 0.031867 | 0.6214 | 0.31594 | 0.31206 | -0.22509 | 0.4222
| 83.07 | -0.24212 | -0.048405 | 0.030247 | 0.58981 | -0.23709 | -0.23404 | -0.19372 | 0.0059548 | Conclusion: The Bartlett T is greater than the critical value.
| 83.28 | -0.29523 | -0.13017 | 0.02898 | 0.56511 | -0.63713 | -0.63194 | -0.16507 | 0.39195 | We can reject the Null Hypothesis that the two variances are equal.
| 84.5 | 0.12977 | 0.1284 | 0.025642 | 0.50001 | 0.62742 | 0.6222 | 0.0013733 | 0.86219 | Note: The Bartlett test assumies normality. The two large residuals are both in the upper
| 84.57 | 0.085846 | 0.074923 | 0.025658 | 0.50033 | 0.36611 | 0.36178 | 0.010923 | 0.60178 | group, so this test is probably just detecting the presence of those two "outliers".
| 85.08 | -0.27332 | -0.35382 | 0.02646 | 0.51597 | -1.7297 | -1.7796 | 0.0805 | 1.5396
| 85.54 | 0.67149 | 0.52823 | 0.028211 | 0.55011 | 2.5846 | 2.8163 | 0.14326 | 3.0563
| 85.54 | 0.67847 | 0.53521 | 0.028211 | 0.55011 | 2.6187 | 2.8619 | 0.14326 | 3.1019 | Brown-Forsythe Test
| 85.63 | 0.77812 | 0.62259 | 0.028668 | 0.55902 | 3.047 | 3.4726 | 0.15553 | 3.7126 | pooled variance = | 0.71506 |  |  | Conclusion: The Brown-Forsythe t is less than the critical value.
| 86.97 | 0.28896 | -0.049388 | 0.039882 | 0.77769 | -0.24311 | -0.24 | 0.33835 | 1.7292e-14 | B-F t = | 1.1962 | 0.23922 | p-value | We cannot reject the null hypothesis that the variance is constant.
| 87.77 | 0.34093 | -0.10656 | 0.050521 | 0.98516 | -0.52746 | -0.52225 | 0.44749 | 0.28226 | critical t = | 2.0262 | (a = 0.05) |  | Since this test is not sensitive to distribution, it is not sensitive to
| 87.91 | 0.32816 | -0.13843 | 0.052686 | 1.0274 | -0.68601 | -0.68102 | 0.46659 | 0.44103 | critical t = | 2.7154 | (a = 0.01) |  | the two potential outliers in the data.
| 88.05 | 0.21045 | -0.27523 | 0.054941 | 1.0714 | -1.3656 | -1.3823 | 0.48569 | 1.1423
| 88.44 | 0.43064 | -0.10825 | 0.0617 | 1.2032 | -0.53902 | -0.53379 | 0.53889 | 0.29379
| 88.97 | 0.52099 | -0.090207 | 0.072009 | 1.4042 | -0.45167 | -0.44676 | 0.6112 | 0.20676
| 89.08 | 0.54366 | -0.082548 | 0.074311 | 1.4491 | -0.41383 | -0.40915 | 0.6262 | 0.16915
| 89.27 | 0.56519 | -0.086938 | 0.078418 | 1.5292 | -0.43681 | -0.43198 | 0.65212 | 0.19199
| 89.34 | 0.6508 | -0.010874 | 0.079973 | 1.5595 | -0.054682 | -0.053941 | 0.66167 | 0.18605
| 89.82 | 0.78296 | 0.055804 | 0.091245 | 1.7793 | 0.28235 | 0.27881 | 0.72716 | 0.5188
| 90.38 | 0.79835 | -0.0052068 | 0.10574 | 2.0619 | -0.026558 | -0.026196 | 0.80356 | 0.2138
| 90.86 | 0.84795 | -0.021091 | 0.11931 | 2.3265 | -0.1084 | -0.10694 | 0.86904 | 0.13305
𝑠_𝑝𝑜𝑜𝑙^2=(𝑠_1^2+𝑠_2^2)/2
𝑇=(𝑁−2)^2/(𝑁−1) "ln " (𝑠_𝑝𝑜𝑜𝑙^2)/(𝑠_1 𝑠_2 )